{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":24,"n_cols":10,"rows_kept":24,"merged":[[0,0,0,9],[1,0,1,3],[1,8,1,9],[22,0,22,1],[22,8,22,9],[23,0,23,9]],"flags":["formulas_cached_only"]}
["2020年流通领域商品质量抽查检验结果汇总表"]
["填报单位：温州市质量技术检测科学研究院",{"$nulls":7},"填报时间：2020-12-8"]
["序号","报告编号","样品名称","被抽查检验经营者","标称商标","标称生产者","规格/型号","生产日期/批号","综合判定（合格/不合格）","主要不合格项目"]
[1,"NLJZ20100191","LED T8一体化支架","永嘉县江北天慧五金装潢店","博尔美","广东顺德积博照明有限公司(标称)","GST81210","2019-03","不合格","标记、外部软线和内部接线、防尘、防固体异物和防水、绝缘电阻和电气强度、接触电流和保护导体电流"]
[2,"NLJZ20100290","LED 吸顶灯","平阳县林孔喜五金店",null,"泰力（安徽）电器股份有限公司(标称)","TLD-XD-CB12","2020-06-16","不合格","标记、防尘、防固体异物和防水、绝缘电阻和电气强度、接触电流和保护导体电流"]
[3,"NLJZ20100291","T5LED节能支架","瑞安市陈锋灯具零售店","雷尼司","江门市雷尼司照明电器有限公司(标称)","T5LED128-18W","2020-08","不合格","标记、接地规定"]
[4,"NLJZ20100292","高效节能一体化LED支架","瑞安市陈锋灯具零售店",null,"中山市米邦照明科技有限公司(标称)","T5-300-4W","2020-8","不合格","标记、防尘、防固体异物和防水、绝缘电阻和电气强度、接触电流和保护导体电流"]
[5,"NLJZ20100377","LED超薄吸顶灯","温州广纳五金装饰市场义新卫生洁具店","荣马","东莞市惜春电子科技有限公司(标称)","FBJ 33.5×5.8×33.5cm","2018-Ⅲ","不合格","标记、接地规定、防尘、防固体异物和防水、绝缘电阻和电气强度、接触电流和保护导体电流"]
[6,"NLJZ20100189","LED吸顶灯(固定式灯具)","永嘉县江北定朴装潢材料店",null,"江门市江海区美科电器有限公司(标称)","MK-XD280102(凤尾)",null,"不合格","标记、防尘、防固体异物和防水、绝缘电阻和电气强度、接触电流和保护导体电流"]
[7,"NLJZ20100192","LED吸顶灯","温州市龙湾海滨雪苗灯具经营部",null,"浙江科光照明科技有限公司(标称)","KG-XD 18W AC220V 50Hz",null,"合格"]
[8,"NLJZ20100289","心睿ⅡLED T5支架","平阳县阿超灯具店",null,"欧普照明电器（中山）有限公司(ZS)(标称)","MZ1000-D12Z-14","2020-06-11","合格"]
[9,"NLJZ20100293","LED吸顶灯","瑞安市陈锋灯具零售店",null,"中山市宝丽兰照明科技有限公司(标称)","BLL-XDD-16W-01","2020-Ⅱ(2季度)","合格"]
[10,"NLJZ20100310","LEDT5一体化支架","温州五金城夏明电器店",null,"佛山市进势照明科技有限公司(标称)","T5ZJ-0.6-8  8W  AC176-264V",null,"合格"]
[11,"NLJZ20100157","LED灯(LED柱形灯)","温州市瓯海娄桥阿靖五金店","公牛","宁波公牛光电科技有限公司(标称)","MQ-C050A-AS 50W 220V/50Hz  0.22A 光效95lm/W 光通量4500lm",null,"合格"]
[12,"NLJZ20100161","公牛爱眼LED灯","温州市瓯海新桥王红五金店","公牛","公牛集团宁波公牛光电科技有限公司(标称)","MQ-A11221",null,"合格"]
[13,"NLJZ20100162","LED灯","温州市瓯海新桥王红五金店","图形商标","江门市卡迪光电科技有限公司(标称)","BPZ220/13W.RR.E27 220V～50Hz  6500K",null,"合格"]
[14,"NLJZ20100194","LED灯","乐清市柳市力玺五金店","视贝","厦门视贝科技有限公司(标称)","QK100-18W  18W  220V/50Hz  ",null,"合格"]
[15,"NLJZ20100195","星月系列LED球泡灯","乐清市柳市方祥水暖器材经营部",null,"厦门视贝科技有限公司(标称)","QZ70-9W",null,"合格"]
[16,"NLJZ20100196","灵光系列LED球泡灯","乐清市柳市方祥水暖器材经营部",null,"木林森股份有限公司(标称)","WA2W31-15","2018.6","合格"]
[17,"NLJZ20100282","省又亮系列90泡","苍南县道强五金经营部",null,"浙江阳光照明电器集团股份有限公司(标称)","BPZ1200-965-16WZ/A65",null,"合格"]
[18,"NLJZ20100283","LED球泡","苍南县道强五金经营部","米兰极光","广东岩羊照明有限公司(标称)","BPZ220/5W.RR.E27",null,"合格"]
[]
["联系人： 王法",{"$nulls":7},"联系电话：0577-89782278"]
["注：综合判定结果依据检验报告填写合格或者不合格，综合判定为不合格的商品需填写主要不合格项目。"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}