{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":35,"n_cols":10,"rows_kept":35,"merged":[[0,0,0,9],[1,0,1,3],[1,8,1,9],[33,0,33,1],[33,8,33,9],[34,0,34,9]],"flags":["formulas_cached_only"]}
["2020年流通领域商品质量抽查检验结果汇总表"]
["填报单位：温州市质量技术检测科学研究院",{"$nulls":7},"填报时间：2020-12-8"]
["序号","报告编号","样品名称","被抽查检验经营者","标称商标","标称生产者","规格/型号","生产日期/批号","综合判定（合格/不合格）","主要不合格项目"]
[1,"NLKF20100304","单相两极带接地暗装插座","平阳县林孔喜五金店",null,"阜阳市双燕电器有限公司(标称)","16A  250V～",null,"不合格","标志、耐热"]
[2,"NLKF20100305","单相两极带接地暗装插座","平阳县阿超灯具店",null,"深圳市豪顿国际照明电器有限公司(标称)","C3/16  16A  250V～",null,"不合格","标志、尺寸检查"]
[3,"NLKF20100306","带保护门单相两极双用、两极带接地暗装插座","平阳县阿超灯具店","Haodun","深圳市豪顿国际照明电器有限公司(标称)","G2  10A  250V～",null,"不合格","标志"]
[4,"NLKF20100309","带保护门单相两极双用、两极带接地暗装插座","平阳县先君建材经营部","美好","深圳瑞威电器有限公司(标称)","NieiL 1315  10A  250V～","20209-29","不合格","标志"]
[5,"NLKF20100264","五孔插座","苍南县泰蒙五金店",null,"深圳尚品美家电器有限公司(标称)","N2 白无边框(顶扣式)  C23   10A 250V～",null,"不合格","标志"]
[6,"NLKF20100274","插头插座(五孔插座)","苍南县泰蒙五金店",null,"深圳尚品美家电器有限公司(标称)","E8 拉丝灰   10A 250V～",null,"不合格","标志、防触电保护"]
[7,"NLKF20100295","单相两极双用(带保护门)、两极带接地暗装插座","瑞安市塘下丽光水暖器材店",null,"瑞安市帝王电器有限公司(标称)","C12 10A 250V～",null,"不合格","标志、尺寸检查"]
[8,"NLKF20100298","带保护门单相两极带接地暗装插座","瑞安市塘下金春五金交电经营部",null,"宁波欧美光源科技有限公司(标称)","T2系列 16A 250V～",null,"不合格","标志"]
[9,"NLKF20100222","插头插座(二三极插座)","乐清市柳市力玺五金店",null,"浙江俊牌电工有限公司(标称)","86-B5  10A  250V～","2020.4.10","不合格","标志"]
[10,"NLKF20100223","插头插座(五孔插座)","乐清市彤彤电气经营部",null,"浙江开际电气有限公司(标称)","C23  10A  250V～",null,"不合格","标志"]
[11,"NLKF20100224","插头插座(二三极插座)","乐清市彤彤电气经营部",null,"上海德力西开关有限公司(标称)","DC86D10H-16   10/250V～","2020.9.10","不合格","标志"]
[12,"NLKF20100211","单相两极可拆线插头","温州市龙湾海滨阿胜电器经营部",null,"慈溪市掌起甬电电器厂(标称)","10A  250V～",null,"不合格","标志"]
[13,"NLKF20100141","单相二极可拆插头","温州五金城芳圆灯具店",null,"慈溪市呈文电器有限公司(标称)","CW-10K2   10A  250V～",null,"不合格","标志"]
[14,"NLKF20100156","插头插座(五孔插座)","温州市瓯海新桥王红五金店","TCLIQLEGTCND","重庆罗格朗电器有限公司(标称)","NO.ML-2/3   10A 250V～",null,"不合格","标志、尺寸检查、防触电保护、机械强度、耐热"]
[15,"NLKF20100197","单相两极双用(带保护门)、两极带接地暗装插座","叶祥林","群邦","温州品耐德电气有限公司(标称)","NO.ML-2/3   10A  250V～",null,"不合格","标志、耐热、绝缘材料的耐非正常热、耐燃和耐电妆化"]
[16,"NLKF20100140","单相两极带接地可拆线插头","温州市鹿城区蒲鞋市超胜五金店",null,"公牛集团股份有限公司(标称)","GNT-16 16A  250V～",null,"合格"]
[17,"NLKF20100143","10A联体二三极插座","温州市鹿城区蒲鞋市朱德华电器店",null,"广东联塑电气有限公司(标称)","5UB0106-1CC1  10A  250V～",null,"合格"]
[18,"NLKF20100144","二/三极插座","温州市鹿城区蒲鞋市朱德华电器店",null,"施耐德电气（中国）有限公司(标称)","A3G426_10U  10A  250V～","2019.12.17","合格"]
[19,"NLKF20100147","插头插座(带保护门单相两极双用、两极带接地暗装插座)","温州市瓯海娄桥阿靖五金店","图形商标","泰力实业有限公司(标称)","86GC05   10A  250V～","2020.06.18","合格"]
[20,"NLKF20100206","单相两极可拆线插头","永嘉县江北定朴装潢材料店","公牛","公牛集团股份有限公司(标称)","GNT-10L1   10A  250V～","2020-07","合格"]
[21,"NLKF20100210","单相两极带接地暗装插座","永嘉县江北雅居仕装潢批发部","泰力","泰力实业有限公司(标称)","86GC10  16A  250V～","2019-09-03","合格"]
[22,"NLKF20100215","单相两极带接地明装插座","温州市龙湾海滨阿胜电器经营部",null,"温州华峰科技电器有限公司(标称)","ZM13-10  10A  250V～",null,"合格"]
[23,"NLKF20100260","插头插座(一联二极三极插座)","苍南县灵溪旺盛五金店",null,"浙江正泰建筑电器有限公司(标称)","NEW7-G11100A   10A 250V～",null,"合格"]
[24,"NLKF20100299","带保护门单相两极双用、两极带接地暗装插座","瑞安市塘下金春五金交电经营部","飞雕","飞雕电器集团有限公司(标称)","F210ZS  10A 250V～","2019-10-27","合格"]
[25,"NLKF20100301","带保护门单相两极双用、两极带接地暗装插座","温州鑫麦建材装饰有限公司",null,"龙胜电器有限公司(标称)","E65N2152F  10A  250V～",null,"合格"]
[26,"NLKF20100312","小五孔插座功能件","苍南县龙港南方五金装璜店",null,"飞雕电器集团有限公司(标称)","Q3-E  10A  250V～",null,"合格"]
[27,"NLKF20100375","单相两极双用(带保护门)、两极带接地暗装插座","温州广纳五金装饰市场义新卫生洁具店",null,"上海彤晶电气有限公司(标称)","NO:ML-2-3  10A  250V～","2019-11","合格"]
[28,"NLKF20110195","联体支架二、三插","苍南县泰宇建材有限公司","飞雕","飞雕电器集团有限公司(标称)","E5-A10ABL-L   10A  250V～",null,"合格"]
[29,"NLKF20110199","移动式插座","苍南县龙港南方五金装璜店","公牛","公牛集团股份有限公司(标称)","GN-101A   10A  250V～2500W",null,"合格"]
[]
["联系人： 王法",{"$nulls":7},"联系电话：0577-89782278"]
["注：综合判定结果依据检验报告填写合格或者不合格，综合判定为不合格的商品需填写主要不合格项目。"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}