{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":34,"n_cols":10,"rows_kept":34,"merged":[[0,0,0,9],[1,0,1,3],[1,8,1,9],[32,0,32,1],[32,8,32,9],[33,0,33,9]],"flags":["formulas_cached_only"]}
["2020年流通领域商品质量抽查检验结果汇总表"]
["填报单位：温州市质量技术检测科学研究院",{"$nulls":7},"填报时间：2020-12-8"]
["序号","报告编号","样品名称","被抽查检验经营者","标称商标","标称生产者","规格/型号","生产日期/批号","综合判定（合格/不合格）","主要不合格项目"]
[1,"NLPG20100147","PP-R环保型.冷热水管","永嘉县瓯北街道孙决强五金制品店","雨诺","浙江雨诺管业有限公司(标称)"," S2.5  dn20×en3.4mm","2020-07-27","不合格","规格尺寸（A类）"]
[2,"NLPG20100154","PVC-U建筑用排水管材","温州市龙湾海滨素建建筑材料经营部","铭大","浙江增洲管业有限公司(标称)","φ50×2.0","2020-09-10","不合格","规格尺寸（A类）、密度（A类）、拉伸屈服应力（A类）、断裂伸长率（A类）"]
[3,"NLPG20100155","PP-R冷热水管","温州市龙湾海滨素建建筑材料经营部",null,"浙江增洲管业有限公司(标称)"," S3.2  D20×2.8","2020-07-11","合格","规格尺寸（B类）"]
[4,"NLPG20100115","PVC-U绝缘阻燃电工套管","温州市鹿城区蒲鞋市超胜五金店","中财","浙江中财管道科技股份有限公司(标称)","GY·315·20",null,"合格"]
[5,"NLPG20100116","PVC-U高层排水管","温州市鹿城区蒲鞋市瑞奇五金店",null,"日丰企业(佛山)有限公司(标称)","dn 40×2.0mm","2020.4.20","合格"]
[6,"NLPG20100119","瓷芯抗菌管","温州市瓯海娄桥雪晴五金店","日丰","日丰企业集团(标称)","PP-R  S3.2  dn20×2.8",null,"合格"]
[7,"NLPG20100120","瓷芯抗菌管","温州市瓯海娄桥雪晴五金店","日丰","日丰企业集团(标称)","PPR  S3.2  dn25×3.5",null,"合格"]
[8,"NLPG20100121","绿色PP-R90度弯头","温州市瓯海娄桥国微五金店",null,"浙江伟星新型建材股份有限公司(标称)","dn25   S2.5","2019年03月27日","合格"]
[9,"NLPG20100140","管件（90°内丝弯头）","乐清市柳市程华通用五金建材商行","德首","浙江德首新型建材有限公司(标称)","S2.5   Φ25× 1/2","2020.3.25","合格"]
[10,"NLPG20100141","管材管件（等径90°弯头(豪华)）","乐清市柳市方祥水暖器材经营部","德首","浙江德首新型建材有限公司(标称)","S2.5  dn20","2020.5.16","合格"]
[11,"NLPG20100142","管材管件（等径90°弯头(豪华)）","乐清市柳市方祥水暖器材经营部","德首","浙江德首新型建材有限公司(标称)","S2.5  dn25","2020.4.17","合格"]
[12,"NLPG20100144","建筑用PVC-U绝缘阻燃电工套管","永嘉县瓯北街道孙决强五金制品店","龙财","浙江龙财塑业有限公司(标称)","GY·205-16","2020-09-09","合格"]
[13,"NLPG20100145","PP-R冷热水管材","永嘉县瓯北街道孙决强五金制品店","伟星","临海伟星新型建材有限公司(标称)"," S3.2  dn20×en2.8","2020-09-19","合格"]
[14,"NLPG20100149","建筑绝缘阻燃电工套管","温州市龙湾海滨素建建筑材料经营部","铭大","浙江增洲管业有限公司(标称)","GY·305-20","2020-08-07","合格"]
[15,"NLPG20100151","PVC-U绝缘阻燃电工套管","温州市龙湾海滨素建建筑材料经营部",null,"浙江中财管道科技股份有限公司(标称)","GY·315-20","2020-07-4","合格"]
[16,"NLPG20100217","PVC-U 阻燃冷弯","杨丁华","ERA 公元","永高股份有限公司(标称)","GY·305-20","2017-07-31","合格"]
[17,"NLPG20100206","PVC-U 排水管材","龙港市明瑞达五金商行",null,"浙江天雁控股有限公司(标称)","φ50×2.0mm",null,"合格"]
[18,"NLPG20100207","PVC-U 阻燃电工套管","龙港市明瑞达五金商行","公元","永高股份有限公司(标称)","GY·305-20","2020.7.16","合格"]
[19,"NLPG20100208","PP-R 冷热水管材(双色)","龙港市明瑞达五金商行",null,"永高股份有限公司(标称)"," S2.5  dn20×en3.4mm","2020.9.12","合格"]
[20,"NLPG20100209","管件(（白）家装异径三通)","苍南广贸建材经营部",null,"浙江中财管道科技股份有限公司(标称)","dn25×20","2020-03-14","合格"]
[21,"NLPG20100210","（白）家装90°异径弯头","苍南广贸建材经营部",null,"浙江中财管道科技股份有限公司(标称)","dn25×20",null,"合格"]
[22,"NLPG20100211","（白）家装45°弯头","苍南广贸建材经营部",null,"浙江中财管道科技股份有限公司(标称)","dn20",null,"合格"]
[23,"NLPG20100214","PPR 冷热水管材","平阳县家惠五金经营部","日丰","日丰企业（佛山）有限公司(FS)(标称)"," S3.2  dn20×2.8","2020-05-23","合格"]
[24,"NLPG20100215","PPR管件(弯头)","杨丁华",null,"上海皮尔萨飞逸管业有限公司(标称)","PP-R S2.5 L20",null,"合格"]
[25,"NLPG20100216","PP-R 热水管","杨丁华",null,"上海盛世公牛管业有限公司(标称)"," S3.2 DN25mm×EN3.5mm","2020-08-13","合格"]
[26,"NLPG20100222","管材","平阳鑫发五金店",null,"德国科标(标称)","PP-R  S2.5 DN20×3.4mm","2018/04/03","合格"]
[27,"NLPG20100223","管材","平阳鑫发五金店",null,"德国科标(标称)","PP-R  S2.5 DN25×4.2mm","2018/04/01","合格"]
[28,"NLPG20110143","建筑用绝缘PVC-U电工套管","温州市鹿城区蒲鞋市洁叶五金店","伟星","浙江伟星新型建材股份有限公司(标称)","GY·305-16","2020.5.21","合格"]
[]
["联系人： 王法",{"$nulls":7},"联系电话：0577-89782278"]
["注：综合判定结果依据检验报告填写合格或者不合格，综合判定为不合格的商品需填写主要不合格项目。"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}