{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":26,"n_cols":10,"rows_kept":26,"merged":[[0,0,0,9],[1,0,1,3],[1,8,1,9],[24,0,24,1],[24,8,24,9],[25,0,25,9]],"flags":["formulas_cached_only"]}
["2020年流通领域商品质量抽查检验结果汇总表"]
["填报单位：温州市质量技术检测科学研究院",{"$nulls":7},"填报时间：2020-12-8"]
["序号","报告编号","样品名称","被抽查检验经营者","标称商标","标称生产者","规格/型号","生产日期/批号","综合判定（合格/不合格）","主要不合格项目"]
[1,"NLKL20100130","一般用途单芯硬导体无护套电缆","温州市五金城晓峰五金水暖店",null,"浙江正泰网络技术有限公司(标称)","60227 IEC 01（BV） 450/750V  1.5mm2","2020.8.27","合格"]
[2,"NLKL20100131","聚氯乙烯绝缘无护套电线电缆","温州市五金城晓峰五金水暖店",null,"温州网牌电线电缆有限公司(标称)","60227 IEC 01（BV） 450/750V  1.5mm2",null,"合格"]
[3,"NLKL20100132","一般用途单芯硬导体无护套电缆","温州市五金城晓峰五金水暖店",null,"温州市威尔鹰新材料线缆有限公司(标称)","60227 IEC 01（BV） 450/750V  2.5mm2","2020.5.15","合格"]
[4,"NLKL20100134","电线电缆","温州市瓯海娄桥张慧五金店","图形商标","浙江元通线缆制造有限公司(标称)","ZR-BV  450/750V 1.5mm2","2020.9.18","合格"]
[5,"NLKL20100136","电线电缆（聚氯乙烯绝缘无护套电线电缆）","温州市瓯海娄桥张慧五金店","图形商标","温州网牌电线电缆有限公司(标称)","60227 IEC 01（BV） 450/750V  2.5mm2",null,"合格"]
[6,"NLKL20100228","电线电缆(聚氯乙烯绝缘无护套电线电缆)","黄建中 ",null,"飞洲集团有限公司(标称)","BVR  450/750V  1×2.5mm2","2020.6.17","合格"]
[7,"NLKL20100236","电线电缆(阻燃聚氯乙烯绝缘电线))","黄建中 ",null,"新中策电缆有限公司(标称)","ZR-BV  450/750V  1.5mm2 ","2020.5.30","合格"]
[8,"NLKL20100237","电线电缆(聚氯乙烯绝缘无护套电缆电线)","黄建中 ",null,"飞洲集团有限公司(标称)","60227 IEC 01（BV） 450/750V 1×1.5mm2","2020.6.17","合格"]
[9,"NLKL20100238","聚氯乙烯绝缘无护套电线电缆","永嘉县江北天慧五金装潢店",null,"永嘉县沪光线缆厂(标称)","60227 IEC 01（BV） 450/750V 2.5mm2",null,"合格"]
[10,"NLKL20100239","一般用途单芯硬导体无护套电缆","永嘉县江北天慧五金装潢店",null,"温州市电线二厂(标称)","60227 IEC 01（BV） 450/750V 2.5mm2","2020-3-4","合格"]
[11,"NLKL20100240","聚氯乙烯绝缘无护套电线","温州市龙湾海滨阿胜电器经营部",null,"江西汉光电缆股份有限公司(标称)","60227 IEC 01（BV） 450/750V  2.5mm2","2020-06-17","合格"]
[12,"NLKL20100244","一般用途单芯硬导体无护套电缆","温州市龙湾海滨经泰机电设备经营部","铭品电缆","铭品电缆集团有限公司(标称)","60227 IEC 01（BV） 450/750V 2.5mm2","2018.5.25","合格"]
[13,"NLKL20100245","聚氯乙烯绝缘护套电缆电线","温州市龙湾海滨经泰机电设备经营部","SNG","上海人民电缆厂一分厂(标称)","60227 IEC 53（RVV） 300/500V 2×0.5mm2","2020.8.30","合格"]
[14,"NLKL20100258","电缆电线","苍南发利五金商行","物产元通","浙江元通线缆制造有限公司(标称)","ZR-BV 300/500V  1mm2 ","2019年10月25日","合格"]
[15,"NLKL20100259","一般用途单芯硬导体无护套电缆","苍南县道强五金经营部","CHNT","浙江正泰电缆有限公司(标称)","60227 IEC 01（BV） 450/750V 1×2.5mm2 100m",null,"合格"]
[16,"NLKL20100284","聚氯乙烯绝缘无护套电线","平阳县家惠五金经营部",null,"乐清市上航线缆厂(标称)","60227 IEC 01（BV） 450/750V 1.5mm2 ","2019-04-29","合格"]
[17,"NLKL20100285","聚氯乙烯绝缘无护套电缆电线","平阳县家惠五金经营部",null,"浙江万马股份有限公司(标称)","60227 IEC 01（BV） 450/750V 1.5mm2 ","2019-12-11","合格"]
[18,"NLKL20100286","一般用途单芯硬导体无护套电缆","瑞安市塘下丽光水暖器材店",null,"深圳市成天泰电缆实业发展有限公司(标称)","60227 IEC 01（BV） 450/750V 1×1.5mm2 ","2020-8-22","合格"]
[19,"NLKL20100287","一般用途单芯硬导体无护套电缆","瑞安市小女五金店",null,"上海德力西集团有限公司(标称)","60227 IEC 01（BV） 450/750V 1.5mm2 ","2019-09-10","合格"]
[20,"NLKL20100288","聚氯乙烯绝缘无护套电缆电线","瑞安市小女五金店","瓯线","温州市瓯线线缆有限公司(标称)","60227 IEC 01（BV） 450/750V 1.5mm2 ","2020-5-18","合格"]
[]
["联系人： 王法",{"$nulls":7},"联系电话：0577-89782278"]
["注：综合判定结果依据检验报告填写合格或者不合格，综合判定为不合格的商品需填写主要不合格项目。"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}