{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["生产领域"],"not_rendered":{"external_links":1,"defined_names":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"生产领域","index":0,"n_rows":5,"n_cols":20,"rows_kept":5,"merged":[[0,0,0,15],[1,0,1,15]],"flags":["formulas_cached_only"]}
["附件1"]
["2023年电线电缆产品质量贵港监督抽查结果汇总表"]
["序号","生产企业名称","统一社会信用代码","产品名称","产品类别","商标","规格型号","生产日期   ","生产批号   ","承检机构","检验结论","生产企业所在辖区","企业经济类型","企业地址","抽样日期","备注","抽样基数","销售单价","从业人员","产值"]
[1,"广西港超铜业有限公司","914508003102197294","聚氯乙烯绝缘无护套阻燃电线电缆","电线电缆","郁江","ZC-BV 450/750V 1.5mm²","2023-04-26","2023-04-26","广西壮族自治区产品质量检验研究院","合格","贵港市","有限责任公司","贵港市产业园区石卡园","2023-06-14",{"$nulls":3},"120人","2.1亿元"]
[2,"贵港市光华电线电缆厂","92450803MA5KXUY29K","聚氯乙烯绝缘阻燃电线","电线电缆","金星","60227 IEC 01（BV） 450/750V 2.5mm²","2023-05-01","2023-05-01","广西壮族自治区产品质量检验研究院","合格","贵港市","个体工商户","广西贵港市港南区横岭卖酒坡开发区","2023-06-13",{"$nulls":3},"5人","200万"]