{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["监督检验报告信息 (2)","Sheet1"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"监督检验报告信息 (2)","index":0,"n_rows":25,"n_cols":14,"rows_kept":25,"merged":[[0,0,0,13],[1,0,1,13],[2,0,2,13],[3,0,3,13]],"flags":["formulas_cached_only"]}
["2025年无规共聚聚丙烯（PP-R）管材产品质量市监督抽查结果"]
["\n    本次抽查20批次产品。其中，生产领域7批次，流通领域13批次。\n    经检验，未发现不合格项目。具体抽查结果见附件。\n"]
["附件"]
["2025年无规共聚聚丙烯（PP-R）管材产品质量市级监督抽查结果汇总表"]
["序号","抽样领域","产品名称","受检单位名称","统一社会信用代码","标称生产者名称","生产日期或批号","规格型号","商标","抽查结果","不合格项目","抽样日期","行政区划","承检单位"]
["1","生产领域","无规共聚聚丙烯 PP-R管","山东浩康管业发展有限公司","91370211568571498N","/","2024-06-12/—","S3.2 dn25×en3.5","圆浩康","所检项目符合标准","/","2025-08-14","西海岸新区","青岛市产品质量检验研究院"]
["2","生产领域","PPR热水管","青岛法尔塑胶管业有限公司","913702117403992566","/","2025-06-10/—","S3.2 PN20 dn20×2.8","坤兴","所检项目符合标准","/","2025-08-14","西海岸新区","青岛市产品质量检验研究院"]
["3","生产领域","PPR热水管","青岛法尔塑胶管业有限公司","913702117403992566","/","2025-06-11/—","S3.2 PN20 dn25×3.5","坤兴","所检项目符合标准","/","2025-08-14","西海岸新区","青岛市产品质量检验研究院"]
["4","生产领域","无规共聚聚丙烯 PP-R管","山东浩康管业发展有限公司","91370211568571498N","/","2024-06-08/—","S3.2 dn20×en2.8","圆浩康","所检项目符合标准","/","2025-08-14","西海岸新区","青岛市产品质量检验研究院"]
["5","生产领域","PP-R采暖专用管材","青岛亿润暖通设备有限公司","91370212760255196Q","/","2025-08-15/—","S3.2 dn32×4.4mm","/","所检项目符合标准","/","2025-08-22","崂山区","青岛市产品质量检验研究院"]
["6","生产领域","冷热水用聚丙烯（PP-R）管材","青岛崂山管业科技有限公司","913702006971512629","/","2025-07-27/—","dn32×4.4mm S3.2","崂山","所检项目符合标准","/","2025-08-25","即墨区","青岛市产品质量检验研究院"]
["7","生产领域","冷热水用聚丙烯（PP-R）管材","青岛崂山管业科技有限公司","913702006971512629","/","2025-08-13/—","dn25×2.3mm S5","崂山","所检项目符合标准","/","2025-08-25","即墨区","青岛市产品质量检验研究院"]
["8","流通领域","PP-R双层管 冷热水管材","青岛李沧区鑫源祥建材批发部","92370213MA3DP1ND64","日丰企业（天津）有限公司","2024-04-10/—","S3.2 dn25×3.5","日丰","所检项目符合标准","/","2025-08-27","李沧区","青岛市产品质量检验研究院"]
["9","流通领域","冷热水管材","崂山区乐城建材经营部","92370212MACWP980X8","新乡爱康建材有限公司","2022-09-13/—","S3.2 dn20×en2.8","保利","所检项目符合标准","/","2025-08-27","崂山区","青岛市产品质量检验研究院"]
["10","流通领域","冷热水管材","崂山区乐城建材经营部","92370212MACWP980X8","新乡爱康建材有限公司","2023-03-24/—","S3.2 dn20×en2.8","保利","所检项目符合标准","/","2025-08-27","崂山区","青岛市产品质量检验研究院"]
["11","流通领域","PP-R 瓷芯抗菌管 冷热水管材","青岛李沧区鑫源祥建材批发部","92370213MA3DP1ND64","日丰企业（天津）有限公司","2025-03-28/—","S3.2 dn20×2.8","日丰","所检项目符合标准","/","2025-08-27","李沧区","青岛市产品质量检验研究院"]
["12","流通领域","PP-R 冷热水管材","青岛峰坤媛建材有限公司","91370213MA3CTY856M","天津市伟星新型建材有限公司","2025-07-22/—","S3.2 dn20×en2.8","伟星","所检项目符合标准","/","2025-08-27","李沧区","青岛市产品质量检验研究院"]
["13","流通领域","PP-R 冷热水管材","青岛峰坤媛建材有限公司","91370213MA3CTY856M","天津市伟星新型建材有限公司","2025-02-20/—","S3.2 dn25×en3.5","伟星","所检项目符合标准","/","2025-08-27","李沧区","青岛市产品质量检验研究院"]
["14","流通领域","冷热水用聚丙烯（PP-R）管材","青岛市李沧区龙鑫兴建材批发部","92370213MA3EA5361C","山东联塑科技实业有限公司","2025-06-07/—","S3.2 dn20×en2.8","联塑","所检项目符合标准","/","2025-08-27","李沧区","青岛市产品质量检验研究院"]
["15","流通领域","冷热水用聚丙烯（PP-R）管材","青岛市李沧区龙鑫兴建材批发部","92370213MA3EA5361C","山东联塑科技实业有限公司","2025-07-12/—","S3.2 dn25×en3.5","联塑","所检项目符合标准","/","2025-08-27","李沧区","青岛市产品质量检验研究院"]
["16","流通领域","PPR热水管","青岛龙人管道有限公司","91370200599036017B","上海龙人企业管理有限公司","2024-08-19/—","S3.2 dn20×2.8mm","龙人","所检项目符合标准","/","2025-08-28","市北区","青岛市产品质量检验研究院"]
["17","流通领域","优家·家装给水用PP-R冷热水管材（双色）","即墨区刁尚基水暖管件商店","92370282MA3M2GTU7Q","公元股份有限公司","2024-06-23/—","S3.2 dn20×en2.8mm","公元","所检项目符合标准","/","2025-08-28","即墨区","青岛市产品质量检验研究院"]
["18","流通领域","PP-R冷水管","青岛龙人管道有限公司","91370200599036017B","上海龙人企业管理有限公司","2024-08-19/—","S4 dn25×2.8mm","龙人","所检项目符合标准","/","2025-08-28","市北区","青岛市产品质量检验研究院"]
["19","流通领域","冷热水用聚丙烯（PP-R）管材","即墨区鸿鑫达水暖店","92370282MA7GCHND9A","武汉金牛经济发展有限公司","2023-12-13/—","S3.2 dn20×en2.8","/","所检项目符合标准","/","2025-09-02","即墨区","青岛市产品质量检验研究院"]
["20","流通领域","PP-R 冷热水管材","青岛百圣兴暖通设备有限公司","91370282MA3TGC4B4H","日丰企业（佛山）有限公司","2024-12-03/—","S3.2 dn20×en2.8","日丰","所检项目符合标准","/","2025-09-02","即墨区","青岛市产品质量检验研究院"]

{"sheet":"Sheet1","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}